## Slide 1: Ultra-broadband Squeezing as a Resource for Quantum Information
Avi Pe’er
(Yaakov Shaked, Yoad Michael, Rafi Vered, Shai Yefet, Michael Rosenbluh)
Physics Dept. and BINA center for nanotechnology, Bar Ilan University
24 May 2016, HUJI
PSAS 2016

## Slide 2: Outline
Time-energy entangled photons (broadband two-mode squeezing) – an amazing quantum resource !
Why no one uses them ? (How to measure ?)
How things are done in RF - mixer based generation and detection
The optical mixer – Ultra broadband optical homodyne
Nonlinear fringe contrast as a Nonclassical measure
The classical-to-quantum transition
What is it good for ? Broadband highly parallel QKD with broadband optical homodyne

## Slide 3: Time-Energy Entangled Photons
Entanglement
The two-photon state (monochromatic pump)
non linear crystal
pump
signal
idler
Notes: the spectrum of a single photon is not defined
all we know is they sum to w_p
such a state is TE ent. We have a superposition of pairs of photons. The wider g(w) , the more pairs we got, the state is more ent.
The width is determined by the phase matching cond. AB mainlt focused on Broadband DC, highly ent.

## Slide 4: Time-Energy Correlation
the two-photon wave function (monochromatic pump)
uncertainty relation
Notes: in time domain it means….mono->spread in this axis and broadband-> narrow~100fs
the temporal wavefunction depends only on the time dif, where G is the

## Slide 5
Ultra-Broadband bi-Photons
PPKTP
Pump
880nm
CCD
Zero Dispersion !
“Single cycle” bi-photons

## Slide 6: Why ultra-broad photon pairs ?
Because there are so many of them !

## Slide 7: Why not?
Need some other scheme
Direct detection does not work:
Slow detectors cannot observe the sharp time-correlation
Slow detectors = energy distinguishability
Coincidence detectors saturate at ~106 ph/s

## Slide 8: Measuring bi-photons - HOM
SLOW ! (coincidence limit <106 ph/s)
1
2
BS
Notes: in time domain it means….mono->spread in this axis and broadband-> narrow~100fs
the temporal wavefunction depends only on the time dif, where G is the

## Slide 9: Measuring bi-photons - SFG
PRL 94, 043602 (2005) , PRL 94, 073601 (2005)
“Efficient” two-photon interaction
Pump
DC
Crystal #1
Crystal #2
SFG
SLOW ! (SFG efficiency 10-8)
Notes: in time domain it means….mono->spread in this axis and broadband-> narrow~100fs
the temporal wavefunction depends only on the time dif, where G is the

## Slide 10
Quantum Uncertainty Principle
Squeezed light?
DY
DX
DY
DX
Y
X
j
Parametric process
- undefined
<|E|>=0
Y
X

## Slide 11
w
Y
X
Local
Oscillator
Square Law Detectors
Beam Splitter
Photo Detectors
LO
qLO
Homodyne Measurement

## Slide 12
+Dt
Y
X
ws
wi
wdg
D
D
-Dt
Too fast for detectors!
Use two separate phase locked LO’s!
LO-1
LO-2
Two-mode squeezed light

## Slide 13
Y
X
+dt
As
Ai
Y
X
X(t) = cos(dt + jx)
Y(t) = cos(dt + jy)
X(t) cos(w0t)
Y(t)sin(w0t)
-dt
As
Ai
+dt
-dt
Two-mode squeezing – Time domain

## Slide 14
Amplifier
RF frequency mixer
TMSS
(two-mode squeezed state)
Regenerative frequency divider
Coupler
Same mixer for generation and detection.
Use non-linear crystal for homodyne measurement!
Squeezed
Signal
Local Oscillator
Quadrature information
RF homodyne measurement
RF analog

## Slide 15
No need for exact LO frequencies,
only their sum!
Two-mode LO generated in parametric oscillator
DC and pump frequency are a pair!
1. Degenerate LO
2. Two-mode LO
3. Pump+DC LO
~23dB
squeezing!
Marino, Alberto M., et al. "Bichromatic local oscillator for detection of two-mode squeezed states of light." JOSA B 24.2 (2007): 335-339.
Three scenarios:

## Slide 16
TMSS generation
Mixing with pump
New J. Phys. 16, 053012 (2014) “Observing the non-classical nature of ultra-broadband bi-photons at ultrafast speed” (Shaked, Pomerantz, Vered, Pe’er)
New J. Phys. 17, 073024 (2015) “Octave-spanning spectral phase control for single-cycle bi-photons” (Shaked, Yefet, Geller, Pe’er)
Squeezed signal
GENERATION
INTERFERENCE inside non-linear crystal.
PHASE
MIX signal with pump
(MIX idler with DC)
Optical experiment
Phys. Rev. Lett. 72, 629-632 (1993).
“Frustrated Two-Photon Creation via Interference“
(Herzog, Rarity, Weinfurt and Zeilinger)
Phys. Rev. A 33, 4033 (1986)
“SU2-and-SU11-Interferometers" , (Yurke, McCall, and Klauder)

## Slide 17: Non linear Mach Zehnder
An equivalent Mach-Zehnder interferometer for Bi-photons:
Two Photon BS
Two Photon BS

## Slide 18
Pump power meter
Measure of the two-photon purity
CCD camera
Pump laser (880nm)
A
B
Crystal 1
Crystal 2
A
B
SPEED ! Full flux detected
What is non-classical ?

## Slide 19: Now to FWM…
Down conversion
energy
conservation
momentum
conservation
(phase matching)
non linear crystal
pump
signal
idler
Four Waves Mixing
non linear fiber
pump
signal
idler
2ωp
ωi
ωs
2kp
ki
ks

## Slide 20: The Experiment
Ti:S Laser (6ps)
PCF
Rafi Z. Vered, Michael Rosenbluh, and Avi Pe’er,
“Two-photon correlation of broadband-amplified spontaneous four-wave mixing”, Phys. Rev. A 86, 043837 (2012)
Pump filter
Spectrometer
Dispersive window
Spontaneously generated signal-idler (ASE)
Different from supercontinnum generation! INCOHERENT – No comb
Unique regime compared to CW – High gain
Can cover the full Quantum-Classical transition
6ps

## Slide 21
Classical regime
Quantum regime
Classical-to-quantum transition
Phys. Rev. Lett. 114, 063902 (2015)
“ Classical-to-Quantum Transition with Broadband Four-Wave Mixing” (Vered, Shaked, Rosenbluh and Pe’er)

## Slide 22
Can we measure squeezing ?

## Slide 23
wavelength (nm)
Intensity (A.U.)
In preparation (2016)
Beneath Vacuum Level
Measurement of FWM Squeezing
Optical measurement of quantum squeezing
~35% squeezing

## Slide 24
Calibration:
Parametric Amp.
Extract :
Measurement Recipe

## Slide 25: Conclusions (I)
Bandwidth allows ultra-high flux of collinear “single cycle” bi-photons
The pumped crystal acts as a bi-photon detector with near unit efficiency.
No coincidence detection ! Standard intensity detection at the bi-photons rate
Comparing single-photon loss with two-photon loss verifies non-classical behavior.
Speedup ! X104 demonstrated, X108 feasible

## Slide 26: Conclusions (II)
Observation of the entire classical-quantum transition with FWM in fiber
Span 8 orders of magnitude (and more…)
Bi-photon generation with imaginary gain
RF parametric oscillation as a Semi-classical physical simulator.
Use optical nonlinearity as an optical mixer for measuring broadband two-mode squeezing.
Must be useful for something…
Thank You

## Slide 27: Classical model
Crystal 1
Crystal 2
Noise…

## Slide 28: Quantum model
Crystal 1
Crystal 2

## Slide 29: FWM – nearby pump wavelength
Phase shift with intensity
Shift pump - 787nm (Δk<0, threshold for gain)

## Slide 30: FWM – nearby pump wavelength
Chart: Pump power (mW)
| 250 | 241.56581196581195 | 233.13162393162401 | 224.69743589743629 | 216.26324786324778 | 207.82905982905982 | 199.39487179487122 | 190.96068376068376 | 182.52649572649574 | 174.09230769230768 | 165.65811965812 | 157.22393162393158 | 148.78974358974358 | 140.35555555555555 | 131.92136752136753 | 123.48717948717967 | 115.05299145299122 | 106.61880341880341 | 98.184615384615427 | 89.750427350427259 | 81.316239316239319 | 72.882051282051037 | 64.447863247863509 | 56.013675213675214 | 47.579487179487067 | 39.145299145299155 | 30.711111111111137 | 22.27692307692303 | 13.842735042735059 | 9.6256410256410447 | 5.4085470085470035 | 3.3000000000000114
After Fiber | 0.8696 | 0.8596 | 0.8344 | 0.81828 | 0.78076 | 0.73616 | 0.67035 | 0.58882 | 0.46786 | 0.37769 | 0.27523 | 0.1452 | 0.025 | 0.21395 | 0.26081 | 0.31949 | 0.38564 | 0.44622 | 0.45278 | 0.40006 | 0.44489 | 0.50766 | 0.55051 | 0.5772 | 0.5943 | 0.60004 | 0.59494 | 0.57574 | 0.50804 | 0.41459 | 0.319 | 0
Before Fibre | 0.085667 | 0.077126 | 0.046069 | 0.038663 | 0.040118 | 0.043396 | 0.046968 | 0.051525 | 0.056131 | 0.059177 | 0.058501 | 0.058919 | 0.044741 | 0.029392 | 0.028884 | 0.0092435 | 0.023191 | 0.13718 | 0.13198 | 0.36507 | 0.43731 | 0.57792 | 0.65591 | 0.76579 | 0.77364 | 0.83999 | 0.88006 | 0.89831 | 0.89989 | 0.8696
Imaginary gain ?
Squeezing ?

## Slide 31: FWM Gain Solution
Signal/idler solution
Similar to 3-waves, but…
Correlation ?
Gain can become imaginary !
Generalized phase mismatch

## Slide 32: Imaginary gain ?
For real gain:
For imaginary gain:

## Slide 33: Theory vs experiment
Contrast reduction ?
Pulse effects, Spectrometer resolution